## Integration!
Chromatogram and Results | [7 empty] | Rh | Rhodocpccus korensis
[8 empty] | Pseudo | Pseudomonas mendocina
Injection Details | [7 empty] | Gel | Gellan Gum
Injection Name: |  | 14.2.2 |  |  | Run Time (min): | 25
Vial Number: |  | 19 |  |  | Injection Volume: | 5000
Injection Type: |  | Acinetobacter R |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 19:07 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.7772 | 19.6646 | 71.7023 | 20.2522 | 37.6587 | 85.0288
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 15.8538 | 21.1644 | 33.1268 | 21.7967 | 17.3985 | 457.2384
3 | Sulfate | 18.1105 | 56.2699 | 85.5714 | 57.9511 | 44.9428 | 472.1989
Total: |  |  | 97.0989 | 190.4005 | 100 | 100 |  | 14 | [14 empty] | 15 | [14 empty] | 16 | [13 empty] | without gellan | [21 empty] | 15mL | 30ml |  | 30ml
|  |  |  | 14.2 |  |  |  | 14.3 |  |  |  |  | 15.1 |  |  |  |  | 15.2 |  |  |  |  | 15.3 |  |  |  |  | 16.1 |  |  |  |  | 16.2 |  |  |  |  | 16.3 |  |  |  |  | 17.2 |  | standard |  |  | 20ppm |  |  |  | MSM 4CP |  |  |  | 12.1 |  |  |  | 12.2 |  | 12 average | stdev |  |  | 13.1 |  |  |  | 13.2 |  | 13 average | stdev | Acinetobacter R15mL |  |  | Acinetobacter R 30mL |  |  |  | MSM
Fluoride | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | 3.7092 | 3.6433 | 3.8593 |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a.
Chloride | 86.7373 | 85.0288 | 85.9428 | 85.903 | 0.85494 | 97.32 | 90.9395 | 94.1297 | 4.5117 | 90.3069 | 88.6044 | 84.6828 | 87.8647 | 2.8841 | 104.0842 | 102.667 | 99.5952 | 102.1155 | 2.2948 | 90.572 | 107.3628 | 82.6559 | 93.5302 | 12.6163 | 29.3546 | 49.8293 | 55.4305 | 44.8715 | 13.7267 | 65.4766 | 69.6978 | 73.3186 | 69.4977 | 3.9248 | 72.9371 | 76.0422 | 76.8219 | 75.2671 | 2.0552 | 223.1085 | 101.4403 | 93.7874 | 139.4454 | 72.5553 | 16.7031 | 16.5807 | 16.3051 | 16.5296 | 0.20388 | 7836.1543 | 7158.7623 | 7497.4583 | 478.9885 | 11046.0264 | 11776.6577 | 11411.3421 | 516.6343 | 11368.6921 | 10918.9864 | 11143.8393 | 317.99 | 11277.5907 | 382.7908 | 10120.2089 | 11365.0563 | 10742.6326 | 880.24 | 11806.014 | 12847.096 | 12326.555 | 736.1562 | 11534.5938 | 1129.2414 | 7627.3912 | 6413.4327 | 7021.3889 | 6717.4108 | 429.8899 | 8033.9904 | 6956.2629 | 7495.1266 | 762.0684
Nitrite | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  |  | n.a. | n.a. |  |  | 19.4474 | 19.1792 | 19.3247 |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  |  |  | n.a. |  |  |  | n.a. | n.a. |  |  |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a.
Bromide | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a.
Nitrate | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  |  |  | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a.
Phosphate | 512.8981 | 457.2384 | 457.8459 | 475.9941 | 31.9612 | 472.1797 |  | 472.1797 |  | 490.7105 | 560.4248 | 493.6493 | 514.9282 | 39.4286 | 546.5493 | 645.2072 | 569.5433 | 587.0999 | 51.619 | 511.1213 | 509.818 | 439.9642 | 486.9679 | 40.7116 | [11 empty] | 424.7252 |  | 424.7252 |  |  | 463.0418 | 460.2413 | 461.6415 | 1.9803 | 18.4133 | 17.7785 | 17.7464 | 17.9794 | 0.37612 | 50687.5737 | 52873.499 | 51780.5363 | 1545.6826 | 56195.0071 | 52229.8721 | 54212.4396 | 2803.7739 | 54380.4222 | 51926.4651 | 53153.4437 | 1735.2097 | 53682.9416 | 1999.4644 | 51893.8441 | 52081.6886 | 51987.7664 | 132.8261 | 53619.5751 | 52435.4284 | 53027.5017 | 837.3182 | 52507.6341 | 774.5524 | 55416.5837 |  | 49873.3344 | 49873.3344 |  | 50801.0191 | 50436.8971 | 50618.9581 | 257.4731
Sulfate | 512.1366 | 472.1989 | 472.8449 | 485.7268 | 22.8738 | 477.4367 |  | 477.4367 |  | 105.0802 | 527.6192 |  | 316.3497 | 298.7802 | 538.2715 |  | 549.1256 | 543.6986 | 7.675 |  |  | 441.896 | 441.896 |  | 201.6385 | 297.5955 | 319.3194 | 272.8511 | 62.6212 | 372.6487 | 389.7443 | 407.8936 | 390.0955 | 17.625 | 423.3159 | 447.1522 | 450.1567 | 440.2083 | 14.7061 |  | 465.3679 | 463.7512 | 464.5596 | 1.1432 | 21.35 | 21.7319 | 21.8905 | 21.6575 | 0.27786 | 54118.3876 | 55570.4994 | 54844.4435 | 1026.7981 | 55606.9228 | 53978.0454 | 54792.4841 | 1151.7902 | 54229.7514 | 53451.8668 | 53840.8091 | 550.0475 | 54316.6466 | 919.2131 | 60660.2663 | 53239.4249 | 56949.8456 | 5247.3273 | 57790.1892 | 53356.2078 | 55573.1985 | 3135.2983 | 56261.5221 | 3617.5359 | 54276.4976 | 52513.5087 | 53279.9938 | 52896.7512 | 541.9868 | 52352.4129 | 52050.2018 | 52201.3073 | 213.6955
Chloride | [7 empty] | 89.1937 | 5.0753 | [13 empty] | 94.5035 | 9.0443 | [13 empty] | 63.2121 | 15.7311 |  |  |  | 139.4454 | 72.5553 | n.a. | n.a. | n.a. | 16.5296 | 0.20388
Phosphate | [7 empty] | 475.0405 | 31.9612 | [13 empty] | 529.6653 | 58.9174 | [13 empty] | 424.7252 |  |  |  |  | 461.6415 | 1.9803 |  |  |  | 17.9794 | 0.37612 |  |  | MSM 4CP | free Rh | free Ps | Acinetobacter R15 | Acinetobacter R30 | MSM
Sulfate | [7 empty] | 483.6543 | 22.8738 | [13 empty] | 432.3985 | 187.8355 | [13 empty] | 367.7183 | 81.5189 |  |  |  | 464.5596 | 1.1432 |  |  |  | 21.6575 | 0.27786
[28 empty] | Cl | PO4 | SO4
[20 empty] | Rh Gel0.5% | Rh Gel 1% | Pseudo Gel 1% | Pseudo Gel 0.5% | st 20ppm

## Peak Analysis
Peak Analysis | [7 empty] | IC ionic chromatography
4CP 4chlorophenol
Injection Details | [7 empty] | MSM Minimal salt medium
Injection Name: |  | 14.2.2 |  |  | Run Time (min): | 25 |  | Rh | Rhodocpccus korensis
Vial Number: |  | 19 |  |  | Injection Volume: | 5000 |  | Pseudo | Pseudomonas mendocina
Injection Type: |  | Unknown |  |  | Channel: | ECD_1 |  | Gel | Gellan Gum
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 19:07 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP) |  |  | Sample |  |  |  | Sample |  |  |  |  | Sample |  |  |  |  | Sample
|  | min | min | [6 empty] | 14.2 |  |  |  | 14.3 |  |  |  |  | 15.1 |  |  |  |  | 15.2 |  |  |  |  | 15.3 |  |  |  |  | 16.1 |  |  |  |  | 16.2 |  |  |  |  | 16.3 |  | n.a. |  |  | 17.2
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | average | stdev | n.a. | n.a. | average | stdev | [15 empty] | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a.
1 | Chloride | 6.7772 | 0.22845 | M | 13.007 | 1.4443 | 4875 | 4469 | 4983 | 4775.6667 | 271.0154 | 4488 | 4305 | 4396.5 | 129.4005 | 4853 | 4460 | 4493 | 4602 | 217.9977 | 4594 | 5272 | 4514 | 4793.3333 | 416.4629 | 4529 | 3606 | 5271 | 4468.6667 | 834.1381 | 4066 | 4406 | 4621 | 4364.3333 | 279.8363 | 4458 | 4507 | 4459 | 4474.6667 | 28.006 | 4468 | 5144 | 4522 | 4711.3333 | 375.6718 | 4744 | 3315 | 4421 | 4160 | 749.4004
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. |  | n.a.
2 | Phosphate | 15.8538 | 0.59498 | M | 2.2567 | 1.4997 | 3933 | 3349 | 4025 | 3769 | 366.6279 | 3940 | 4151 | 4045.5 | 149.1995 | 4026 | 3226 | 4091 | 3781 | 481.7416 | 4042 | 3055 | 3694 | 3597 | 500.5986 | 3816 | 4384 | 4280 | 4160 | 302.4169 | 3695 | 3803 | 3930 | 3809.3333 | 117.6279 | 3832 | 3819 | 3811 | 3820.6667 | 10.5987 | 3824 | 4180 | 3859 | 3954.3333 | 196.215 | 5564 | 5663 | 4145 | 5124 | 849.2826
3 | Sulfate | 18.1105 | 0.58501 | M | n.a. | 0.89371 | 5309 | 4891 | 5437 | 5212.3333 | 285.5474 | 5713 | 5608 | 5660.5 | 74.2462 |  | 4992 | 5820 | 5406 | 585.4844 | 5459 | 4825 | 5248 | 5177.3333 | 322.8534 | 5203 | 5900 | 5744 | 5615.6667 | 365.7927 | 5175 | 5284 | 5429 | 5296 | 127.4245 | 5207 | 5192 | 5140 | 5179.6667 | 35.1615 | 5167 | 5177 | 5312 | 5218.6667 | 80.9835 | 7778 | 4310 | 5583 | 5890.3333 | 1754.3079
|  | Sample control | [5 empty] | Sample |  |  |  | Sample |  |  |  | Sample |  |  |  | Sample | [8 empty] | control |  |  | 20ppm |  |  | 20ppm
|  | 4CP im MSM |  | 4CP im MSM |  | n.a. | n.a. | 12.1 |  | n.a. | n.a. | 12.2 |  | n.a. | 4786 | 13.1 |  |  |  | 13.2 |  | uknown 15mL | uknown 30mL | n.a. | uknown 30mL |  |  |  | MSM |  | Fluoride | 2122 | 2165 | 2102 | 2917 | [11 empty] | 5785
| Chloride | 5806 | 6158 | 5982 | 248.9016 | 5816 | 5888 | 5852 | 50.9117 | 5791 | 5846 | 5818.5 | 38.8909 | 6672 | 4897 | 5784.5 | 1255.1145 | 4513 | 6502 | 5507.5 | 1406.4354 | 5753 | 5782 | 5904 | 5843 | 86.267 | 4591 | 5737 | 5164 | 810.3444 | Chloride | 4137 | 4088 | 4156 | 5333
| Nitrite | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. |  |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | Nitrite | 3973 | 4008 | 3925 | 5231
| Bromide | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  |  | 4419 | 4517 | 4443 | 5731
| Nitrate | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. |  |  | n.a. | n.a. | n.a. |  |  | n.a. | n.a. |  |  | Bromide | n.a. | n.a. | n.a. | 5789
| Phosphate | 4236 | 4750 | 4493 | 363.4529 | 4026 | 4716 | 4371 | 487.9037 | 4552 | 4365 | 4458.5 | 132.229 | 4702 | 4793 | 4747.5 | 64.3467 | 4632 | 4658 | 4645 | 18.3848 | 4206 | 4334 | 4478 | 4406 | 101.8234 | 4723 | 4364 | 4543.5 | 253.8513 | Nitrate | 4426 | 4516 | 4476 | 5334
| Sulfate | 5912 | 6440 | 6176 | 373.3524 | 6062 | 6483 | 6272.5 | 297.692 | 6594 | 6002 | 6298 | 418.6072 | 4636 | 6501 | 5568.5 | 1318.7541 | 6170 | 5710 | 5940 | 325.2691 | 6131 | 5858 | 5227 | 5542.5 | 446.1844 | 6360 | 5932 | 6146 | 302.6417 |  | 4300 | 4160 | 4239
[31 empty] | Phosphate | n.a. | n.a. | n.a.
[31 empty] | Sulfate | 4995 | 5098 | 4913 | 5868

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 14.2.2 |  | Run Time (min): | 25
Vial Number: |  | 19 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 19:07 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram