## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 12.1.2 |  |  | Run Time (min): | 25
Vial Number: |  | 16 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 22:37 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.9573 | 27.2359 | 105.2672 | 23.533 | 42.3225 | 11776.6577
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.264 | 24.1759 | 39.9602 | 20.889 | 16.0659 | 52229.8721
3 | Sulfate | 18.6573 | 64.3233 | 103.499 | 55.5781 | 41.6116 | 53978.0454
Total: |  |  | 115.7351 | 248.7264 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 12.1.2 |  |  | Run Time (min): | 25
Vial Number: |  | 16 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 22:37 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.9573 | 0.21341 | M | 14.246 | 1.2781 | 5888
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.264 | 0.55746 | M | 2.5608 | 1.6028 | 4716
3 | Sulfate | 18.6573 | 0.54539 | M | n.a. | 0.86761 | 6483

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 12.1.2 |  | Run Time (min): | 25
Vial Number: |  | 16 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 22:37 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram