## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 30ml free.2 |  |  | Run Time (min): | 25
Vial Number: |  | 9 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 19:22 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.6437 | 14.8324 | 59.9347 | 15.032 | 31.7869 | 6413.4327
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 |  | 15.7103 | 21.2611 | 35.1231 | 21.5474 | 18.6279 | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Sulfate | 18.2703 | 62.5781 | 93.4938 | 63.4206 | 49.5852 | 52513.5087
Total: |  |  | 98.6716 | 188.5516 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 30ml free.2 |  |  | Run Time (min): | 25
Vial Number: |  | 9 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 19:22 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.6437 | 0.20352 | M | 14.15 | 1.4151 | 5904
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 |  | 15.7103 | 0.55257 | M | 2.6327 | 1.6081 | 4478
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Sulfate | 18.2703 | 0.59483 | M | n.a. | 0.8443 | 5227

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 30ml free.2 |  | Run Time (min): | 25
Vial Number: |  | 9 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 19:22 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram