## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 14.2.2 |  |  | Run Time (min): | 25
Vial Number: |  | 19 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 19:07 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.7772 | 19.6646 | 71.7023 | 20.2522 | 37.6587 | 85.0288
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 15.8538 | 21.1644 | 33.1268 | 21.7967 | 17.3985 | 457.2384
3 | Sulfate | 18.1105 | 56.2699 | 85.5714 | 57.9511 | 44.9428 | 472.1989
Total: |  |  | 97.0989 | 190.4005 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 14.2.2 |  |  | Run Time (min): | 25
Vial Number: |  | 19 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 19:07 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.7772 | 0.22845 | M | 13.007 | 1.4443 | 4875
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 15.8538 | 0.59498 | M | 2.2567 | 1.4997 | 3933
3 | Sulfate | 18.1105 | 0.58501 | M | n.a. | 0.89371 | 5309

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 14.2.2 |  | Run Time (min): | 25
Vial Number: |  | 19 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 19:07 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram