## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 17.2.2 |  |  | Run Time (min): | 25
Vial Number: |  | 16 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 17:44 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.6638 | 23.4601 | 73.6447 | 23.3609 | 38.1886 | 101.4403
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Nitrate | 12.9105 | 0.075494 | 0.15957 | 0.075175 | 0.082747 | 0.69352
3 | Phosphate | 16.4005 | 21.433 | 33.8376 | 21.3424 | 17.5466 | 463.0418
4 | Sulfate | 18.6972 | 55.4559 | 85.2027 | 55.2215 | 44.182 | 465.3679
Total: |  |  | 100.4245 | 192.8447 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 17.2.2 |  |  | Run Time (min): | 25
Vial Number: |  | 16 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 17:44 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.6638 | 0.27241 | M | 10.9002 | 1.3824 | 3315
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Nitrate | 12.9105 | 0.40382 | M | 4.1522 | 1.0827 | 5663
3 | Phosphate | 16.4005 | 0.588 | M | 2.323 | 1.559 | 4310
4 | Sulfate | 18.6972 | 0.57861 | M | n.a. | 0.88946 | 5785

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 17.2.2 |  | Run Time (min): | 25
Vial Number: |  | 16 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 17:44 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram