## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | MSM.2 |  |  | Run Time (min): | 25
Vial Number: |  | 7 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 18:26 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.6872 | 18.5802 | 67.8943 | 17.7834 | 32.6074 | 8033.9904
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.1672 | 23.5145 | 39.3221 | 22.506 | 18.8851 | 50801.0191
3 | Sulfate | 18.5272 | 62.3861 | 101.0009 | 59.7106 | 48.5075 | 52352.4129
Total: |  |  | 104.4808 | 208.2173 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | MSM.2 |  |  | Run Time (min): | 25
Vial Number: |  | 7 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 18:26 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.6872 | 0.2323 | M | 14.2322 | 1.3228 | 4591
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.1672 | 0.5537 | M | 2.5305 | 1.5816 | 4723
3 | Sulfate | 18.5272 | 0.54679 | M | n.a. | 0.83773 | 6360

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | MSM.2 |  | Run Time (min): | 25
Vial Number: |  | 7 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 18:26 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram