## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 12.1.1 |  |  | Run Time (min): | 25
Vial Number: |  | 15 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 22:09 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.564 | 25.5462 | 103.7309 | 21.682 | 41.9777 | 11046.0264
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.1673 | 26.0112 | 40.011 | 22.0768 | 16.1916 | 56195.0071
3 | Sulfate | 18.6807 | 66.2644 | 103.3677 | 56.2412 | 41.8307 | 55606.9228
Total: |  |  | 117.8218 | 247.1096 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 12.1.1 |  |  | Run Time (min): | 25
Vial Number: |  | 15 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 22:09 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.564 | 0.20259 | M | 14.124 | 1.2991 | 5816
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.1673 | 0.59972 | M | 2.5468 | 1.5646 | 4026
3 | Sulfate | 18.6807 | 0.56475 | M | n.a. | 0.86092 | 6062

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 12.1.1 |  | Run Time (min): | 25
Vial Number: |  | 15 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 22:09 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram