## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 15.1.1 |  |  | Run Time (min): | 25
Vial Number: |  | 23 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 20:59 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.8905 | 20.8853 | 74.7708 | 37.1655 | 44.1905 | 90.3069
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 15.9838 | 22.7137 | 35.5242 | 40.4192 | 20.9952 | 490.7105
3 |  | 17.6872 | 0.074409 | 22.3209 | 0.13241 | 13.1919 | n.a.
4 | Sulfate | 18.2705 | 12.522 | 36.5852 | 22.2829 | 21.6223 | 105.0802
Total: |  |  | 56.1954 | 169.201 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 15.1.1 |  |  | Run Time (min): | 25
Vial Number: |  | 23 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 20:59 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.8905 | 0.23281 | M | 12.9952 | 1.4588 | 4853
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 15.9838 | 0.59289 | M | n.a. | 1.521 | 4026
3 |  | 17.6872 | n.a. | M | n.a. | n.a. | n.a.
4 | Sulfate | 18.2705 | 0.33542 | M | n.a. | 1.6094 | 16437

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 15.1.1 |  | Run Time (min): | 25
Vial Number: |  | 23 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 20:59 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram