## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 5 |  |  | Run Time (min): | 25
Vial Number: |  | 5 |  |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  |  | Channel: | ECD_1
Calibration Level: |  | 04 |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 17:31 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
1 | Fluoride | 3.9573 | 0.26896 | 1.1682 | 7.5226 | 11.7313 | 0.89386
2 | Chloride | 6.5207 | 0.85389 | 3.2766 | 23.8829 | 32.9045 | 3.6922
3 | Nitrite | 8.2773 | 0.51657 | 1.5952 | 14.4481 | 16.019 | 4.3367
4 | Bromide | 10.364 | 0.37428 | 0.99796 | 10.4685 | 10.0218 | 4.4848
5 | Nitrate | 12.0673 | 0.48581 | 1.0562 | 13.5878 | 10.6069 | 4.4628
6 |  | 15.7707 | 0.48499 | 0.84757 | 13.5648 | 8.5115 | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | Sulfate | 17.514 | 0.59084 | 1.0162 | 16.5253 | 10.205 | 4.9581
Total: |  |  | 3.5753 | 9.9579 | 100 | 100

## Calibration
Calibration
Calibration Details |  | Fluoride
Calibration Type |  | Lin |  |  | Offset (C0) |  | 0
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0.30089
Number of Calibration Points |  | 5 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | 0.98932
Calibration Plot |  | Fluoride
Calibration Results |  | Fluoride
No. | Injection Name | Calibration | X Value | Y Value | Y Value | Area | Height
|  | Level |  |  |  | µS*min | µS
Fluoride | Fluoride | Fluoride | Fluoride | Fluoride | Fluoride | Fluoride | Fluoride
|  |  | ECD_1 | ECD_1 | ECD_1 | ECD_1 | ECD_1
1 | 100 | 05 | 20 | 6.2638 | 6.2638 | 6.2638 | 27.7661
2 | 50 | 01 | 10 | 2.6238 | 2.6238 | 2.6238 | 12.2944
3 | 20 | 02 | 4 | 0.98647 | 0.98647 | 0.98647 | 4.5921
4 | 10 | 03 | 2 | 0.51864 | 0.51864 | 0.51864 | 2.2463
5 | 5 | 04 | 1 | 0.26896 | 0.26896 | 0.26896 | 1.1682

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 5 |  |  | Run Time (min): | 25
Vial Number: |  | 5 |  |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  |  | Channel: | ECD_1
Calibration Level: |  | 04 |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 17:31 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
1 | Fluoride | 3.9573 | 0.18029 | M | 7.6249 | 2.5063 | 2669
2 | Chloride | 6.5207 | 0.2164 | M | 4.2706 | 1.8662 | 5030
3 | Nitrite | 8.2773 | 0.26899 | M | 4.1525 | 1.9901 | 5246
4 | Bromide | 10.364 | 0.32397 | M | 2.8006 | 1.5843 | 5670
5 | Nitrate | 12.0673 | 0.3937 | M | 4.8583 | 1.5334 | 5205
6 |  | 15.7707 | 0.50577 | M | 1.9709 | 1.3169 | 5387
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | Sulfate | 17.514 | 0.53799 | M | n.a. | 1.3866 | 5871

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 5 |  | Run Time (min): | 25
Vial Number: |  | 5 |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  | Channel: | ECD_1
Calibration Level: |  | 04 |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 17:31 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram