## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 17.2.1 |  |  | Run Time (min): | 25
Vial Number: |  | 15 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 17:16 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Chloride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Nitrite | 8.7073 | 26.5755 | 73.9294 | 25.4258 | 38.4269 | 223.1085
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 |  | 19.374 | 22.0136 | 33.4755 | 21.0612 | 17.3998 | n.a.
3 |  | 21.734 | 55.9329 | 84.9848 | 53.5131 | 44.1733 | n.a.
Total: |  |  | 104.522 | 192.3897 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 17.2.1 |  |  | Run Time (min): | 25
Vial Number: |  | 15 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 17:16 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Chloride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Nitrite | 8.7073 | 0.29755 | M | 13.8487 | 1.4086 | 4744
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 |  | 19.374 | 0.61132 | M | 2.3375 | 1.5308 | 5564
3 |  | 21.734 | 0.58004 | M | n.a. | 0.87555 | 7778

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 17.2.1 |  | Run Time (min): | 25
Vial Number: |  | 15 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 17:16 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram