## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 20ppm 1 |  |  | Run Time (min): | 25
Vial Number: |  | 33 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-23 01:37 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
1 | Fluoride | 3.9338 | 1.1612 | 4.4395 | 7.559 | 11.3182 | 3.8593
2 | Chloride | 6.4738 | 3.7709 | 13.4649 | 24.5464 | 34.3279 | 16.3051
3 | Nitrite | 8.2005 | 2.3019 | 6.2798 | 14.9838 | 16.0098 | 19.3247
4 |  | 10.2538 | 1.5581 | 3.7492 | 10.1426 | 9.5583 | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Nitrate | 11.9372 | 1.9318 | 4.0457 | 12.575 | 10.3142 | 17.7464
6 |  | 15.7072 | 2.0298 | 3.2975 | 13.2126 | 8.4067 | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | Sulfate | 17.4805 | 2.6086 | 3.9479 | 16.9805 | 10.0649 | 21.8905
Total: |  |  | 15.3623 | 39.2245 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 20ppm 1 |  |  | Run Time (min): | 25
Vial Number: |  | 33 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-23 01:37 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
1 | Fluoride | 3.9338 | 0.20195 | M | 6.8379 | 2.4051 | 2102
2 | Chloride | 6.4738 | 0.23637 | M | 3.7422 | 1.766 | 4156
3 | Nitrite | 8.2005 | 0.30809 | M | 3.6154 | 1.8518 | 3925
4 |  | 10.2538 | 0.36208 | M | 2.5399 | 1.6426 | 4443
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Nitrate | 11.9372 | 0.41997 | M | 4.5035 | 1.6653 | 4476
6 |  | 15.7072 | 0.56784 | M | 1.8119 | 1.424 | 4239
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | Sulfate | 17.4805 | 0.58701 | M | n.a. | 1.5481 | 4913

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 20ppm 1 |  | Run Time (min): | 25
Vial Number: |  | 33 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-23 01:37 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram