## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 20 |  |  | Run Time (min): | 25
Vial Number: |  | 3 |  |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  |  | Channel: | ECD_1
Calibration Level: |  | 02 |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 16:35 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
1 | Fluoride | 3.9673 | 0.98647 | 4.5921 | 7.0899 | 11.5554 | 3.2784
2 | Chloride | 6.6307 | 3.5632 | 13.9194 | 25.6095 | 35.026 | 15.4072
3 | Nitrite | 8.4473 | 2.0309 | 6.2485 | 14.5967 | 15.7233 | 17.0503
4 | Bromide | 10.6007 | 1.4361 | 3.7501 | 10.3216 | 9.4366 | 17.2081
5 | Nitrate | 12.3107 | 1.745 | 4.0272 | 12.5415 | 10.1337 | 16.0302
6 | Phosphate | 15.8473 | 1.8515 | 3.2904 | 13.307 | 8.2797 | 40
7 | Sulfate | 17.4707 | 2.3005 | 3.9125 | 16.5338 | 9.8452 | 19.3048
Total: |  |  | 13.9137 | 39.7402 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 20 |  |  | Run Time (min): | 25
Vial Number: |  | 3 |  |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  |  | Channel: | ECD_1
Calibration Level: |  | 02 |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 16:35 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
1 | Fluoride | 3.9673 | 0.17289 | M | 8.1292 | 2.1416 | 2917
2 | Chloride | 6.6307 | 0.21371 | M | 4.3872 | 1.5824 | 5333
3 | Nitrite | 8.4473 | 0.27491 | M | 4.2033 | 1.6682 | 5231
4 | Bromide | 10.6007 | 0.3296 | M | 2.8402 | 1.6216 | 5731
5 | Nitrate | 12.3107 | 0.38084 | M | 4.6807 | 1.5228 | 5789
6 | Phosphate | 15.8473 | 0.51074 | M | 1.8285 | 1.3553 | 5334
7 | Sulfate | 17.4707 | 0.53683 | M | n.a. | 1.2353 | 5868

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 20 |  | Run Time (min): | 25
Vial Number: |  | 3 |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  | Channel: | ECD_1
Calibration Level: |  | 02 |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 16:35 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram