## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 16.1.3 |  |  | Run Time (min): | 25
Vial Number: |  | 8 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 14:01 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.6607 | 12.8194 | 46.0638 | 19.9299 | 36.5751 | 55.4305
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 |  | 15.7307 | 13.4512 | 21.2882 | 20.9121 | 16.9031 | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Sulfate | 17.9107 | 38.0519 | 58.591 | 59.158 | 46.5218 | 319.3194
Total: |  |  | 64.3225 | 125.943 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 16.1.3 |  |  | Run Time (min): | 25
Vial Number: |  | 8 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 14:01 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.6607 | 0.23063 | M | 13.0324 | 1.4755 | 4621
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 |  | 15.7307 | 0.5906 | M | 2.2123 | 1.4578 | 3930
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Sulfate | 17.9107 | 0.57216 | M | n.a. | 0.86116 | 5429

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 16.1.3 |  | Run Time (min): | 25
Vial Number: |  | 8 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 14:01 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram