## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 50 |  |  | Run Time (min): | 25
Vial Number: |  | 2 |  |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  |  | Channel: | ECD_1
Calibration Level: |  | 01 |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 16:07 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
1 | Fluoride | 3.9672 | 2.6238 | 12.2944 | 7.1219 | 11.259 | 8.7201
2 | Chloride | 6.5872 | 9.6258 | 39.7534 | 26.1274 | 36.4055 | 41.6214
3 | Nitrite | 8.3572 | 5.3841 | 16.9863 | 14.6141 | 15.5557 | 45.2008
4 | Bromide | 10.4838 | 3.6919 | 10.1613 | 10.0209 | 9.3055 | 44.2369
5 | Nitrate | 12.1805 | 4.695 | 10.9239 | 12.7438 | 10.0039 | 43.1305
6 |  | 15.6905 | 4.8171 | 8.7986 | 13.075 | 8.0576 | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | Sulfate | 17.4072 | 6.0041 | 10.2785 | 16.2969 | 9.4128 | 50.3842
Total: |  |  | 36.8417 | 109.1964 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 50 |  |  | Run Time (min): | 25
Vial Number: |  | 2 |  |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  |  | Channel: | ECD_1
Calibration Level: |  | 01 |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 16:07 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
1 | Fluoride | 3.9672 | 0.16762 | M | 8.3351 | 1.9542 | 3103
2 | Chloride | 6.5872 | 0.2033 | M | 4.4662 | 1.4334 | 5816
3 | Nitrite | 8.3572 | 0.26435 | M | 4.3293 | 1.6031 | 5537
4 | Bromide | 10.4838 | 0.31529 | M | 2.9182 | 1.4982 | 6125
5 | Nitrate | 12.1805 | 0.37078 | M | 4.7577 | 1.5621 | 5979
6 |  | 15.6905 | 0.49976 | M | 1.9757 | 1.3365 | 5461
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | Sulfate | 17.4072 | 0.52552 | M | n.a. | 1.2075 | 6078

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 50 |  | Run Time (min): | 25
Vial Number: |  | 2 |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  | Channel: | ECD_1
Calibration Level: |  | 01 |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 16:07 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram