## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 20ppm 3 |  |  | Run Time (min): | 25
Vial Number: |  | 35 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-23 02:33 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
1 | Fluoride | 3.9103 | 1.1161 | 4.4915 | 7.2211 | 11.3031 | 3.7092
2 | Chloride | 6.447 | 3.8629 | 13.6691 | 24.9938 | 34.399 | 16.7031
3 | Nitrite | 8.1703 | 2.3165 | 6.3791 | 14.9879 | 16.0534 | 19.4474
4 |  | 10.2137 | 1.5561 | 3.7794 | 10.0683 | 9.5112 | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Nitrate | 11.9003 | 2.0044 | 4.1043 | 12.9689 | 10.3287 | 18.4133
6 |  | 15.7003 | 2.0554 | 3.3127 | 13.2987 | 8.3365 | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | Sulfate | 17.5003 | 2.5442 | 4.0008 | 16.4613 | 10.0682 | 21.35
Total: |  |  | 15.4556 | 39.7369 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 20ppm 3 |  |  | Run Time (min): | 25
Vial Number: |  | 35 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-23 02:33 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
1 | Fluoride | 3.9103 | 0.19979 | M | 6.87 | 2.3425 | 2122
2 | Chloride | 6.447 | 0.23592 | M | 3.7587 | 1.7467 | 4137
3 | Nitrite | 8.1703 | 0.3051 | M | 3.6163 | 1.8454 | 3973
4 |  | 10.2137 | 0.36164 | M | 2.5429 | 1.731 | 4419
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Nitrate | 11.9003 | 0.42103 | M | 4.5542 | 1.7016 | 4426
6 |  | 15.7003 | 0.56356 | M | 1.8528 | 1.3989 | 4300
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | Sulfate | 17.5003 | 0.58283 | M | n.a. | 1.3781 | 4995

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 20ppm 3 |  | Run Time (min): | 25
Vial Number: |  | 35 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-23 02:33 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram