## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 30ml free.1 |  |  | Run Time (min): | 25
Vial Number: |  | 8 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 18:54 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.5572 | 16.2384 | 66.6472 | 15.7938 | 32.4363 | 7021.3889
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 15.6172 | 23.0851 | 38.3436 | 22.4531 | 18.6613 | 49873.3344
3 | Sulfate | 17.9472 | 63.4915 | 100.4803 | 61.7532 | 48.9024 | 53279.9938
Total: |  |  | 102.8149 | 205.4711 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 30ml free.1 |  |  | Run Time (min): | 25
Vial Number: |  | 8 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 18:54 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.5572 | 0.20298 | M | 14.0424 | 1.3787 | 5782
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 15.6172 | 0.55835 | M ^ | 2.4764 | 1.5591 | 4334
3 | Sulfate | 17.9472 | 0.5519 | M | n.a. | 0.8816 | 5858

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 30ml free.1 |  | Run Time (min): | 25
Vial Number: |  | 8 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 18:54 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram