## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 12.2.1 |  |  | Run Time (min): | 25
Vial Number: |  | 17 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 23:05 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.5637 | 25.2524 | 103.0852 | 22.3504 | 41.889 | 10918.9864
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 15.607 | 24.0354 | 39.8935 | 21.2733 | 16.2109 | 51926.4651
3 | Sulfate | 17.9837 | 63.6963 | 103.1124 | 56.3763 | 41.9001 | 53451.8668
Total: |  |  | 112.9841 | 246.0911 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 12.2.1 |  |  | Run Time (min): | 25
Vial Number: |  | 17 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 23:05 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.5637 | 0.20206 | M | 14.077 | 1.2971 | 5846
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 15.607 | 0.55599 | M ^ | 2.5441 | 1.5805 | 4365
3 | Sulfate | 17.9837 | 0.54637 | M | n.a. | 0.87033 | 6002

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 12.2.1 |  | Run Time (min): | 25
Vial Number: |  | 17 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 23:05 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram