## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 15.2.2 |  |  | Run Time (min): | 25
Vial Number: |  | 27 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 22:50 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 7.2938 | 23.7438 | 83.7464 | 19.0294 | 37.9026 | 102.667
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.5138 | 29.865 | 39.5419 | 23.9352 | 17.8962 | 645.2072
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 19.2005 | 71.1655 | 97.6634 | 57.0354 | 44.2012 | n.a.
Total: |  |  | 124.7743 | 220.9517 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 15.2.2 |  |  | Run Time (min): | 25
Vial Number: |  | 27 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 22:50 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 7.2938 | 0.23645 | M ^ | 11.5773 | 1.4167 | 5272
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.5138 | 0.70328 | M | 2.3416 | 1.5177 | 3055
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 19.2005 | 0.65061 | M | n.a. | 0.86568 | 4825

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 15.2.2 |  | Run Time (min): | 25
Vial Number: |  | 27 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 22:50 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram