## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 13.1.1 |  |  | Run Time (min): | 25
Vial Number: |  | 11 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 20:18 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 |  | 4.6072 | 0.24673 | 0.18206 | 0.21628 | 0.076583 | n.a.
2 | Chloride | 6.8705 | 26.284 | 94.5602 | 23.0397 | 39.7775 | 11365.0563
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Phosphate | 16.2905 | 24.1073 | 40.2089 | 21.1317 | 16.9142 | 52081.6886
4 | Sulfate | 18.6572 | 63.4431 | 102.7716 | 55.6123 | 43.2317 | 53239.4249
Total: |  |  | 114.0811 | 237.7228 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 13.1.1 |  |  | Run Time (min): | 25
Vial Number: |  | 11 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 20:18 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 |  | 4.6072 | 1.031 | M | 2.1117 | 1.6146 | 111
2 | Chloride | 6.8705 | 0.23374 | M | 14.1139 | 1.2701 | 4786
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Phosphate | 16.2905 | 0.55382 | M | 2.5424 | 1.5713 | 4793
4 | Sulfate | 18.6572 | 0.54463 | M | n.a. | 0.85453 | 6501

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 13.1.1 |  | Run Time (min): | 25
Vial Number: |  | 11 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 100
Injection Date/Time: |  | 2016-12-21 20:18 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram