## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 16.3.1 |  |  | Run Time (min): | 25
Vial Number: |  | 12 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 15:52 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.5538 | 16.8682 | 61.5517 | 19.5256 | 36.6106 | 72.9371
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 |  | 15.6072 | 19.0771 | 30.0781 | 22.0825 | 17.8902 | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Sulfate | 17.8172 | 50.4447 | 76.4958 | 58.3919 | 45.4992 | 423.3159
Total: |  |  | 86.3899 | 168.1256 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 16.3.1 |  |  | Run Time (min): | 25
Vial Number: |  | 12 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 15:52 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.5538 | 0.23078 | M | 12.9517 | 1.418 | 4468
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 |  | 15.6072 | 0.59405 | M | 2.2148 | 1.4618 | 3824
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Sulfate | 17.8172 | 0.58341 | M | n.a. | 0.84985 | 5167

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 16.3.1 |  | Run Time (min): | 25
Vial Number: |  | 12 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 15:52 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram