## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 15.1.3 |  |  | Run Time (min): | 25
Vial Number: |  | 25 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 21:54 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.5003 | 19.5846 | 71.4446 | 19.6249 | 37.0617 | 84.6828
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.6637 | 22.8498 | 34.5937 | 22.8967 | 17.9454 | 493.6493
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 19.0403 | 57.3605 | 86.7336 | 57.4784 | 44.9929 | n.a.
Total: |  |  | 99.7948 | 192.7719 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 15.1.3 |  |  | Run Time (min): | 25
Vial Number: |  | 25 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 21:54 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.5003 | 0.22825 | M | 14.2519 | 1.4895 | 4493
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.6637 | 0.61324 | M | 2.3358 | 1.5302 | 4091
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 19.0403 | 0.58743 | M | n.a. | 0.90311 | 5820

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 15.1.3 |  | Run Time (min): | 25
Vial Number: |  | 25 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 21:54 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram