## Overview
Sequence Overview
Sequence Details
Name: |  | 05-18-2017 |  |  | Created On: | 2017-04-27 09:30
Directory: |  | HPLC\2017\BERILLO |  |  | Created By: | MvDr.Kupk
Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2017-05-25 11:36
No. of Injections: |  | 78 |  |  | Updated By: | MvDr.Kupk
Injection Details
No. | Injection Name | Position | Type | Level | Inject Time | Status
[1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47]
1 | MeOH | BA1 | Unknown |  | 2017-05-18 14:05 | Finished
2 | initial sample WW | BA2 | Unknown |  | 2017-05-18 14:30 | Finished
3 | phenol 50 mg/L | BA3 | Calibration Standard | 07 | 2017-05-18 14:56 | Finished
4 | MeOH | BA1 | Unknown |  | 2017-05-22 09:37 | Finished
5 | MeOH | BA1 | Unknown |  | 2017-05-22 10:00 | Finished
6 | N1 14-00 19,05 phenol | BB1 | Unknown |  | 2017-05-22 10:22 | Finished
7 | N2 11am 19,05,17 phenol | BB2 | Unknown |  | 2017-05-22 10:44 | Finished
8 | N3 11am 19,05,17 phenol | BB3 | Unknown |  | 2017-05-22 11:06 | Finished
9 | N4 11am 19,05,17 phenol | BB4 | Unknown |  | 2017-05-22 11:28 | Finished
10 | N5 11am 19,05,17 phenol | BB5 | Unknown |  | 2017-05-22 11:50 | Finished
11 | N6 11am 19,05,17 phenol | BB6 | Unknown |  | 2017-05-22 12:12 | Finished
12 | control 11am 19,05,17 phenol50mgL | BB7 | Unknown |  | 2017-05-22 12:34 | Finished
13 | N3 9-00am22,05,17 phenol 2CP | BA6 | Unknown |  | 2017-05-22 12:56 | Finished
14 | N2 9-00am 22,05,17 2CP Phenol | BA5 | Unknown |  | 2017-05-22 13:18 | Finished
15 | N4 9-00am 22,05,17 2CP Phenol | BA7 | Unknown |  | 2017-05-22 13:40 | Finished
16 | N1 8-30am 22,05,17 phenol 2CP | BA4 | Unknown |  | 2017-05-22 14:02 | Finished
17 | N5 8-30am 22,05,17 phenol 2CP | BA8 | Unknown |  | 2017-05-22 14:24 | Finished
18 | N6 8-30am 22,05,17 phenol 2CP | BC7 | Unknown |  | 2017-05-22 14:46 | Finished
19 | control aft degr9-00am 22,05,17 phenol 2CP | BC8 | Unknown |  | 2017-05-22 15:08 | Finished
20 | N1 16-00 19,05,17 phenol | BC1 | Unknown |  | 2017-05-22 15:30 | Finished
21 | N2 15-30 19,05,17 phenol | BC2 | Unknown |  | 2017-05-22 15:53 | Finished
22 | N3 16-00 19,05,17 phenol | BC3 | Unknown |  | 2017-05-22 16:15 | Finished
23 | N4 15-30 19,05,17 phenol | BC4 | Unknown |  | 2017-05-22 16:37 | Finished
24 | MeOH | BA1 | Unknown |  | 2017-05-23 10:28 | Finished
25 | MeOH | BA1 | Unknown |  | 2017-05-23 10:59 | Finished
26 | N5 16-00 19,05,17 phenol | BC5 | Unknown |  | 2017-05-23 11:21 | Finished
27 | N6 15-30 19,05,17 phenol | BC6 | Unknown |  | 2017-05-23 11:43 | Finished
28 | initial 19,05,17 phenol100mgL 2CP50mgL | BD1 | Unknown |  | 2017-05-23 12:05 | Finished
29 | N2 initial 19,05,17 16-40phenol100mgL 2CP50mgL | BD2 | Unknown |  | 2017-05-23 12:27 | Finished
30 | N4 initial 19,05,17 16-40phenol100mgL 2CP50mgL | BD3 | Unknown |  | 2017-05-23 12:49 | Finished
31 | N6 initial 19,05,17 16-40phenol100mgL 2CP50mgL | BD4 | Unknown |  | 2017-05-23 13:12 | Finished
32 | 23,05.17 phenol 0,5mgL calibration | BE1 | Calibration Standard | 01 | 2017-05-23 13:34 | Finished
33 | 23,05.17 phenol 1mgL calibration | BE2 | Calibration Standard | 02 | 2017-05-23 13:56 | Finished
34 | 23,05.17 phenol 2,5mgL calibration | BE3 | Calibration Standard | 03 | 2017-05-23 14:18 | Finished
35 | 23,05.17 phenol 5,0mgL calibration | BE4 | Calibration Standard | 04 | 2017-05-23 14:40 | Finished
36 | 23,05.17 phenol 12,5mgL calibration | BE5 | Calibration Standard | 05 | 2017-05-23 15:02 | Finished
37 | 23,05.17 phenol 25,0mgL calibration | BE6 | Calibration Standard | 06 | 2017-05-23 15:24 | Finished
38 | 23,05.17 8-00am control fresh 50mgL 2CP 100mgL Ph | BE7 | Unknown |  | 2017-05-23 15:46 | Finished
39 | 23,05.17 10-00am control fresh 50mgL 2CP 100mgL Ph | BE8 | Unknown |  | 2017-05-23 16:08 | Finished
40 | phenol 50 mg/L calibration | BA3 | Unknown |  | 2017-05-23 16:30 | Finished
41 | 2-chlorophenol 50 mg/L | BB1 | Unknown |  | 2017-05-23 16:52 | Finished
42 | MeOH | BA1 | Unknown |  | 2017-05-24 10:17 | Finished
43 | N1 Pseudo 24,05 9-30am100mg/L Ph 222,2mL | BC1 | Unknown |  | 2017-05-24 10:39 | Finished
44 | N2 Pseudo 24,05 9-30am100mg/L Ph 222,2mL | BC2 | Unknown |  | 2017-05-24 11:01 | Finished
45 | N3 Rh 24,05 9-30am100mg/L Ph 222,2mL | BC3 | Unknown |  | 2017-05-24 11:24 | Finished
46 | N4 Rh 24,05 9-30am100mg/L Ph 222,2mL | BC4 | Unknown |  | 2017-05-24 11:46 | Finished
47 | N5 Acinoto 24,05 9-30am100mg/L Ph 222,2mL | BC5 | Unknown |  | 2017-05-24 12:08 | Finished
48 | N6 Acinoto 24,05 9-30am100mg/L Ph 222,2mL | BC6 | Unknown |  | 2017-05-24 12:30 | Finished
49 | control 24,05 9-30am100mg/L Ph 50mgL 2CP | BC7 | Unknown |  | 2017-05-24 12:52 | Finished
50 | N2 23,05,17 10am 2CP Ph | BD2 | Unknown |  | 2017-05-24 13:14 | Finished
51 | N4 23,05,17 10am 2CP Ph | BD3 | Unknown |  | 2017-05-24 13:36 | Finished
52 | N5 23,05,17 10am 2CP Ph | BD4 | Unknown |  | 2017-05-24 13:58 | Finished
53 | N6 23,05,17 10am 2CP Ph | BD5 | Unknown |  | 2017-05-24 14:20 | Finished
54 | control 23,05,17 10am 2CP Phenol | BD6 | Unknown |  | 2017-05-24 14:42 | Finished
55 | 2-chlorophenol 25 mg/L | BB2 | Calibration Standard | 13 | 2017-05-24 15:04 | Finished
56 | N3 Rhodo 24,05,17 14-45 exp from 19,05, | BB8 | Unknown |  | 2017-05-24 15:26 | Finished
57 | 2-chlorophenol 12,5 mg/L | BB3 | Calibration Standard | 12 | 2017-05-24 15:48 | Finished
58 | 2-chlorophenol 5,0 mg/L | BB4 | Calibration Standard | 11 | 2017-05-24 16:10 | Finished
59 | 2-chlorophenol 2,5 mg/L | BB5 | Calibration Standard | 10 | 2017-05-24 16:32 | Finished
60 | 2-chlorophenol 1,0 mg/L | BB6 | Calibration Standard | 09 | 2017-05-24 16:55 | Finished
61 | 2-chlorophenol 0,5 mg/L | BB7 | Calibration Standard | 08 | 2017-05-24 17:17 | Finished
62 | 2-chlorophenol 0,5 mg/L | BB7 | Calibration Standard | 08 | 2017-05-24 17:39 | Finished
63 | 2-chlorophenol 50 mg/L | BB1 | Calibration Standard | 14 | 2017-05-24 18:01 | Finished
64 | MeOH | BA1 | Unknown |  | 2017-05-25 09:10 | Finished
65 | N1 24.05.17. 16-20 Phenol 100mg/L | BB1 | Unknown |  | 2017-05-25 09:32 | Finished
66 | N2 24.05.17. 16-20 Phenol 100mg/L | BB2 | Unknown |  | 2017-05-25 09:54 | Finished
67 | N3 24.05.17. 16-20 Phenol 100mg/L | BB3 | Unknown |  | 2017-05-25 10:16 | Finished
68 | N4 24.05.17. 16-20 Phenol 100mg/L | BB4 | Unknown |  | 2017-05-25 10:38 | Finished
69 | N5 24.05.17. 16-20 Phenol 100mg/L | BB5 | Unknown |  | 2017-05-25 11:00 | Finished
70 | N6 24.05.17. 16-20 Phenol 100mg/L | BB6 | Unknown |  | 2017-05-25 11:23 | Finished
71 | N1 25.05.17. 8-40am Phenol 100mg/L | BC1 | Unknown |  | 2017-05-25 11:45 | Running
72 | N2 25.05.17. 8-40am Phenol 100mg/L | BC2 | Unknown |  | n.a. | Idle
73 | N3 25.05.17. 8-40am Phenol 100mg/L | BC3 | Unknown |  | n.a. | Idle
74 | N4 25.05.17. 8-40am Phenol 100mg/L | BC4 | Unknown |  | n.a. | Idle
75 | N5 25.05.17. 8-40am Phenol 100mg/L | BC5 | Unknown |  | n.a. | Idle
76 | N6 25.05.17. 8-40am Phenol 100mg/L | BC6 | Unknown |  | n.a. | Idle
77 | control 25.05.17. 8-40am Phenol 100mg/L 50mgL 2CP | BC7 | Unknown |  | n.a. | Idle
78 | N3 Rhodo25,05,178-40am exp from 19,05 | BC8 | Unknown |  | n.a. | Idle

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | phenol 50 mg/L |  |  | Run Time (min): | 21.5
Vial Number: |  | BA3 |  |  | Injection Volume: | 40
Injection Type: |  | Calibration Standard |  |  | Channel: | UV_VIS_1
Calibration Level: |  | 07 |  |  | Wavelength: | 280
Instrument Method: |  | chlorophenol 3D_21,5 |  |  | Bandwidth: | 4
Processing Method: |  | chlorophenol |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2017-05-18 14:56 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | mg/L
1 |  | 0.1 | 0.097906 | 0.2685 | 0.55442 | 0.17784 | n.a.
2 |  | 0.38333 | 1.904 | 0.79695 | 10.782 | 0.52785 | n.a.
3 |  | 1.4367 | 0.22302 | 3.9259 | 1.2629 | 2.6003 | n.a.
4 |  | 1.48 | 0.11189 | 3.8548 | 0.6336 | 2.5532 | n.a.
5 |  | 1.5167 | 0.19602 | 4.2657 | 1.11 | 2.8253 | n.a.
6 |  | 1.5433 | 0.053366 | 3.2468 | 0.3022 | 2.1504 | n.a.
7 | phenol | 5.2467 | 15.0729 | 134.6223 | 85.3548 | 89.1651 | 49.8748
n.a. | 2-chlorophenol | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 17.6591 | 150.981 | 100 | 100

## Calibration
Calibration
Calibration Details
Calibration Type |  | n.a. |  |  | Offset (C0) |  | n.a.
Evaluation Type |  | n.a. |  |  | Slope (C1) |  | n.a.
Number of Calibration Points |  | n.a. |  |  | Curve (C2) |  | n.a.
Number of disabled Calibration Points |  | n.a. |  |  | R-Square |  | n.a.
Calibration Plot
Calibration Results
No. | Injection Name | Calibration | X Value | Y Value | Y Value | Area | Height
|  | Level |  |  |  | mAU*min | mAU
[1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47]
|  |  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
3 | phenol 50 mg/L | 07 | n.a. | n.a. | n.a. | 0.22302 | 3.9259
32 | 23,05.17 phenol 0,5mgL calibration | 01 | n.a. | n.a. | n.a. | n.a. | n.a.
33 | 23,05.17 phenol 1mgL calibration | 02 | n.a. | n.a. | n.a. | n.a. | n.a.
34 | 23,05.17 phenol 2,5mgL calibration | 03 | n.a. | n.a. | n.a. | n.a. | n.a.
35 | 23,05.17 phenol 5,0mgL calibration | 04 | n.a. | n.a. | n.a. | n.a. | n.a.
36 | 23,05.17 phenol 12,5mgL calibration | 05 | n.a. | n.a. | n.a. | n.a. | n.a.
37 | 23,05.17 phenol 25,0mgL calibration | 06 | n.a. | n.a. | n.a. | n.a. | n.a.
55 | 2-chlorophenol 25 mg/L | 13 | n.a. | n.a. | n.a. | n.a. | n.a.
57 | 2-chlorophenol 12,5 mg/L | 12 | n.a. | n.a. | n.a. | n.a. | n.a.
58 | 2-chlorophenol 5,0 mg/L | 11 | n.a. | n.a. | n.a. | n.a. | n.a.
59 | 2-chlorophenol 2,5 mg/L | 10 | n.a. | n.a. | n.a. | n.a. | n.a.
60 | 2-chlorophenol 1,0 mg/L | 09 | n.a. | n.a. | n.a. | n.a. | n.a.
61 | 2-chlorophenol 0,5 mg/L | 08 | n.a. | n.a. | n.a. | n.a. | n.a.
62 | 2-chlorophenol 0,5 mg/L | 08 | n.a. | n.a. | n.a. | n.a. | n.a.
63 | 2-chlorophenol 50 mg/L | 14 | n.a. | n.a. | n.a. | n.a. | n.a.

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | phenol 50 mg/L |  |  | Run Time (min): | 21.5
Vial Number: |  | BA3 |  |  | Injection Volume: | 40
Injection Type: |  | Calibration Standard |  |  | Channel: | UV_VIS_1
Calibration Level: |  | 07 |  |  | Wavelength: | 280
Instrument Method: |  | chlorophenol 3D_21,5 |  |  | Bandwidth: | 4
Processing Method: |  | chlorophenol |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2017-05-18 14:56 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
1 |  | 0.1 | n.a. | BM | n.a. | n.a. | n.a.
2 |  | 0.38333 | n.a. | M * | n.a. | n.a. | n.a.
3 |  | 1.4367 | n.a. | M * | n.a. | n.a. | n.a.
4 |  | 1.48 | n.a. | M | n.a. | n.a. | n.a.
5 |  | 1.5167 | n.a. | M * | n.a. | n.a. | n.a.
6 |  | 1.5433 | n.a. | MB* | n.a. | n.a. | n.a.
7 | phenol | 5.2467 | 0.10635 | BMB* | n.a. | 1.0364 | 13483
n.a. | 2-chlorophenol | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | phenol 50 mg/L |  | Run Time (min): | 21.5
Vial Number: |  | BA3 |  | Injection Volume: | 40
Injection Type: |  | Calibration Standard |  | Channel: | UV_VIS_1
Calibration Level: |  | 07 |  | Wavelength: | 280
Instrument Method: |  | chlorophenol 3D_21,5 |  | Bandwidth: | 4
Processing Method: |  | chlorophenol |  | Dilution Factor: | 1
Injection Date/Time: |  | 2017-05-18 14:56 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Summary
Summary
Sequence Details
Name: |  | 05-18-2017 |  |  | Created On: | 2017-04-27 09:30
Directory: |  | HPLC\2017\BERILLO |  |  | Created By: | MvDr.Kupk
Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2017-05-25 11:36
No. of Injections: |  | 78 |  |  | Updated By: | MvDr.Kupk
By Component |  | n.a.
No. | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | mAU*min | mAU | n.a. | %
[1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47] | [1,40..1,47]
|  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
1 | MeOH | 1.4567 | 0.46938 | 8.9661 | n.a. | 0.75158 | BM
2 | initial sample WW | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | phenol 50 mg/L | 1.4367 | 0.22302 | 3.9259 | n.a. | 1.2629 | M *
4 | MeOH | 1.4533 | 1.079 | 8.4273 | n.a. | 1.9211 | M
5 | MeOH | 1.4567 | 0.34056 | 7.3877 | n.a. | 1.5381 | BM
6 | N1 14-00 19,05 phenol | 1.4133 | 1.7829 | 24.4052 | n.a. | 17.7012 | M
7 | N2 11am 19,05,17 phenol | 1.4133 | 2.0977 | 34.7304 | n.a. | 12.838 | M
8 | N3 11am 19,05,17 phenol | 1.4167 | 1.5457 | 20.3328 | n.a. | 14.8592 | M
9 | N4 11am 19,05,17 phenol | 1.4167 | 1.5098 | 19.0062 | n.a. | 15.4712 | M
10 | N5 11am 19,05,17 phenol | 1.4133 | 1.8213 | 29.5756 | n.a. | 12.1392 | M
11 | N6 11am 19,05,17 phenol | 1.4133 | 1.7912 | 23.4785 | n.a. | 17.5632 | M
12 | control 11am 19,05,17 phenol50mgL | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
13 | N3 9-00am22,05,17 phenol 2CP | 1.41 | 2.1514 | 34.358 | n.a. | 13.0421 | M
14 | N2 9-00am 22,05,17 2CP Phenol | 1.4167 | 1.1374 | 24.2177 | n.a. | 5.1695 | M
15 | N4 9-00am 22,05,17 2CP Phenol | 1.4233 | 1.4082 | 24.5699 | n.a. | 6.9109 | M
16 | N1 8-30am 22,05,17 phenol 2CP | 1.41 | 1.8491 | 28.8099 | n.a. | 8.4922 | M
17 | N5 8-30am 22,05,17 phenol 2CP | 1.41 | 1.241 | 23.3856 | n.a. | 5.9026 | M
18 | N6 8-30am 22,05,17 phenol 2CP | 1.4267 | 0.67954 | 22.8488 | n.a. | 3.123 | M
19 | control aft degr9-00am 22,05,17 phenol 2CP | 1.4433 | 1.4396 | 25.3764 | n.a. | 6.177 | M
20 | N1 16-00 19,05,17 phenol | 1.4167 | 1.846 | 24.5286 | n.a. | 16.0577 | M
21 | N2 15-30 19,05,17 phenol | 1.4167 | 1.8069 | 24.1547 | n.a. | 16.1635 | M
22 | N3 16-00 19,05,17 phenol | 1.4467 | 1.9098 | 31.1639 | n.a. | 12.4363 | M
23 | N4 15-30 19,05,17 phenol | 1.4067 | 1.7524 | 28.7601 | n.a. | 11.371 | M
24 | MeOH | 1.4567 | 1.0499 | 7.3452 | n.a. | 4.5612 | BM
25 | MeOH | 1.4567 | 0.33344 | 6.7445 | n.a. | 1.6817 | BM
26 | N5 16-00 19,05,17 phenol | 1.4133 | 2.0437 | 32.6332 | n.a. | 12.7301 | M
27 | N6 15-30 19,05,17 phenol | 1.4167 | 2.0634 | 34.5871 | n.a. | 11.5909 | M
28 | initial 19,05,17 phenol100mgL 2CP50mgL | 1.41 | 0.52428 | 19.6992 | n.a. | 1.4184 | M
29 | N2 initial 19,05,17 16-40phenol100mgL 2CP50mgL | 1.4133 | 1.5476 | 25.3815 | n.a. | 2.6418 | M
30 | N4 initial 19,05,17 16-40phenol100mgL 2CP50mgL | 1.4167 | 1.434 | 23.545 | n.a. | 2.4755 | M
31 | N6 initial 19,05,17 16-40phenol100mgL 2CP50mgL | 1.4167 | 1.5339 | 25.4171 | n.a. | 3.7191 | M
32 | 23,05.17 phenol 0,5mgL calibration | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
33 | 23,05.17 phenol 1mgL calibration | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
34 | 23,05.17 phenol 2,5mgL calibration | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
35 | 23,05.17 phenol 5,0mgL calibration | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
36 | 23,05.17 phenol 12,5mgL calibration | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
37 | 23,05.17 phenol 25,0mgL calibration | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
38 | 23,05.17 8-00am control fresh 50mgL 2CP 100mgL Ph | 1.42 | 0.60882 | 22.8563 | n.a. | 1.0448 | M
39 | 23,05.17 10-00am control fresh 50mgL 2CP 100mgL Ph | 1.4133 | 0.00099178 | 0.063185 | n.a. | 0.001192 | Ru
40 | phenol 50 mg/L calibration | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
41 | 2-chlorophenol 50 mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
42 | MeOH | 1.4167 | 0.036328 | 0.26515 | n.a. | 0.18561 | Ru
43 | N1 Pseudo 24,05 9-30am100mg/L Ph 222,2mL | 1.4033 | 2.1996 | 36.2972 | n.a. | 6.9278 | M
44 | N2 Pseudo 24,05 9-30am100mg/L Ph 222,2mL | 1.4067 | 1.6272 | 28.6908 | n.a. | 3.5885 | M
45 | N3 Rh 24,05 9-30am100mg/L Ph 222,2mL | 1.4067 | 1.6833 | 27.0864 | n.a. | 5.543 | M
46 | N4 Rh 24,05 9-30am100mg/L Ph 222,2mL | 1.4133 | 1.3656 | 24.906 | n.a. | 4.3665 | M
47 | N5 Acinoto 24,05 9-30am100mg/L Ph 222,2mL | 1.4033 | 4.2062 | 77.0158 | n.a. | 13.0423 | M
48 | N6 Acinoto 24,05 9-30am100mg/L Ph 222,2mL | 1.4067 | 3.3937 | 59.3314 | n.a. | 10.8911 | M
49 | control 24,05 9-30am100mg/L Ph 50mgL 2CP | 1.4133 | 0.39578 | 19.8001 | n.a. | 1.0345 | M
50 | N2 23,05,17 10am 2CP Ph | 1.4333 | 0.3233 | 19.4681 | n.a. | 0.9003 | M
51 | N4 23,05,17 10am 2CP Ph | 1.41 | 1.0002 | 23.3373 | n.a. | 2.5564 | M
52 | N5 23,05,17 10am 2CP Ph | 1.41 | 0.64755 | 24.1445 | n.a. | 1.5821 | M
53 | N6 23,05,17 10am 2CP Ph | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
54 | control 23,05,17 10am 2CP Phenol | 1.4167 | 0.0011768 | 0.069715 | n.a. | 0.0019322 | Ru
55 | 2-chlorophenol 25 mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
56 | N3 Rhodo 24,05,17 14-45 exp from 19,05, | 1.41 | 2.4343 | 39.7225 | n.a. | 14.3292 | M
57 | 2-chlorophenol 12,5 mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
58 | 2-chlorophenol 5,0 mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
59 | 2-chlorophenol 2,5 mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
60 | 2-chlorophenol 1,0 mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
61 | 2-chlorophenol 0,5 mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
62 | 2-chlorophenol 0,5 mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
63 | 2-chlorophenol 50 mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
64 | MeOH | 1.46 | 0.26687 | 6.3481 | n.a. | 1.1809 | BM
65 | N1 24.05.17. 16-20 Phenol 100mg/L | 1.4067 | 4.8308 | 92.836 | n.a. | 15.1888 | M
66 | N2 24.05.17. 16-20 Phenol 100mg/L | 1.4033 | 4.1453 | 78.6534 | n.a. | 13.1685 | M
67 | N3 24.05.17. 16-20 Phenol 100mg/L | 1.47 | 4.5525 | 96.7096 | n.a. | 13.4141 | M
68 | N4 24.05.17. 16-20 Phenol 100mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
69 | N5 24.05.17. 16-20 Phenol 100mg/L | 1.4067 | 5.974 | 114.5648 | n.a. | 9.4803 | M
70 | N6 24.05.17. 16-20 Phenol 100mg/L | 1.41 | 5.874 | 111.9535 | n.a. | 10.3481 | M
71 | N1 25.05.17. 8-40am Phenol 100mg/L | 1.47 | 7.0601 | 110.4412 | n.a. | 32.7496 | M
72 | N2 25.05.17. 8-40am Phenol 100mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
73 | N3 25.05.17. 8-40am Phenol 100mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
74 | N4 25.05.17. 8-40am Phenol 100mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
75 | N5 25.05.17. 8-40am Phenol 100mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
76 | N6 25.05.17. 8-40am Phenol 100mg/L | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
77 | control 25.05.17. 8-40am Phenol 100mg/L 50mgL 2CP | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
78 | N3 Rhodo25,05,178-40am exp from 19,05 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.

## Audit Trail
Audit Trail
Injection Details
Injection Name: |  | phenol 50 mg/L | Run Time (min): | 21.5
Vial Number: |  | BA3 | Injection Volume: | 40
Injection Type: |  | Calibration Standard | Channel: | UV_VIS_1
Calibration Level: |  | 07 | Wavelength: | 280
Instrument Program: |  | chlorophenol 3D_21,5 | Bandwidth: | 4
Processing Method: |  | chlorophenol | Dilution Factor: | 1
Injection Date/Time: |  | 2017-05-18 14:56 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
min
14:55:23 |  | Audit trail of injection "chrom://ics5000-pc/ChromeleonLocal/HPLC/2017/BERILLO/05-18-2017.seq/303.smp". Executed 18. 5. 2017 on instrument U3000 (server ICS5000-PC).
14:55:23 |  | Start of injection 3 "phenol 50 mg/L", using instrument method "chlorophenol 3D_21,5".
14:55:23 | 0.000 | PumpModule.Pump.%A.Equate = "W"
14:55:23 | 0.000 | PumpModule.Pump.%B.Equate = "W 1%AAc"
14:55:23 | 0.000 | PumpModule.Pump.%C.Equate = "MeOH 1%AAc"
14:55:23 | 0.000 | PumpModule.Pump.%D.Equate = "W"
14:55:23 | 0.000 | PumpModule.Pump.Pressure.LowerLimit = 5
14:55:23 | 0.000 | PumpModule.Pump.Pressure.UpperLimit = 350
14:55:23 | 0.000 | ColumnOven.Temperature.Nominal = 45.0
14:55:23 | 0.000 | Sampler.Temperature.Nominal = 25.0
14:55:23 | 0.000 | Log TempCtrl: On
14:55:23 | 0.000 | Sampler.Temperature.LowerLimit = 4.0
14:55:23 | 0.000 | Sampler.Temperature.UpperLimit = 45.0
14:55:23 | 0.000 | UV.SlitWidth = Wide
14:55:23 | 0.000 | UV.ResponseTime = 1.000
14:55:23 | 0.000 | UV.Data_Collection_Rate = 5.0
14:55:23 | 0.000 | UV.UV_VIS_1.Wavelength = 280.0
14:55:23 | 0.000 | UV.UV_VIS_1.Bandwidth = 4
14:55:23 | 0.000 | UV.Autozero
14:55:23 | 0.000 | Wait PumpModule.Pump.Ready And ColumnOven.Ready And Sampler.Ready And UV.Ready
14:55:33 | 0.000 | Wait finished
14:55:33 | 0.000 | Sampler.Inject
14:55:33 | 0.000 | Injecting from vial position BA3.
14:55:33 | 0.000 | Injection Volume is 40.000 µl.
14:55:33 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
14:55:56 | 0.000 | Got inject response.
14:55:56 | 0.000 | ColumnOven.ColumnOven_Temp.AcqOn
14:55:56 | 0.000 | PumpModule.Pump.Pump_Pressure.AcqOn
14:55:56 | 0.000 | UV.UV_VIS_1.AcqOn
14:55:56 | 0.000 | UV.3DFIELD.AcqOn
14:55:56 | 0.000 | PumpModule.Pump.Flow.Nominal = 1.000
14:55:56 | 0.000 | PumpModule.Pump.%B.Value Gradient Start = 75.0, End = 44.0, Duration = 9.500
14:55:56 | 0.000 | PumpModule.Pump.%C.Value Gradient Start = 25.0, End = 56.0, Duration = 9.500
14:55:56 | 0.000 | PumpModule.Pump.%D.Value = 0.0
14:55:56 | 0.000 | PumpModule.Pump.Curve = 5
15:05:26 | 9.500 | PumpModule.Pump.Flow.Nominal = 1.000
15:05:26 | 9.500 | PumpModule.Pump.%B.Value = 44.0
15:05:26 | 9.500 | PumpModule.Pump.%C.Value = 56.0
15:05:26 | 9.500 | PumpModule.Pump.%D.Value = 0.0
15:05:26 | 9.500 | PumpModule.Pump.Curve = 5
15:07:56 | 12.000 | PumpModule.Pump.Flow.Nominal = 1.000
15:07:56 | 12.000 | PumpModule.Pump.%B.Value Gradient Start = 44.0, End = 0.0, Duration = 1.000
15:07:56 | 12.000 | PumpModule.Pump.%C.Value Gradient Start = 56.0, End = 100.0, Duration = 1.000
15:07:56 | 12.000 | PumpModule.Pump.%D.Value = 0.0
15:07:56 | 12.000 | PumpModule.Pump.Curve = 5
15:08:56 | 13.000 | PumpModule.Pump.Flow.Nominal = 1.000
15:08:56 | 13.000 | PumpModule.Pump.%B.Value = 0.0
15:08:56 | 13.000 | PumpModule.Pump.%C.Value = 100.0
15:08:56 | 13.000 | PumpModule.Pump.%D.Value = 0.0
15:08:56 | 13.000 | PumpModule.Pump.Curve = 5
15:10:25 | 14.488 | Temperature difference too large. Probable coolant circulation malfunction. Close the carousel cover. Turn the autosampler off and on again or perform a self test.
15:10:56 | 15.000 | PumpModule.Pump.Flow.Nominal = 1.000
15:10:56 | 15.000 | PumpModule.Pump.%B.Value Gradient Start = 0.0, End = 75.0, Duration = 1.000
15:10:56 | 15.000 | PumpModule.Pump.%C.Value Gradient Start = 100.0, End = 25.0, Duration = 1.000
15:10:56 | 15.000 | PumpModule.Pump.%D.Value = 0.0
15:10:56 | 15.000 | PumpModule.Pump.Curve = 5
15:11:56 | 16.000 | PumpModule.Pump.Flow.Nominal = 1.000
15:11:56 | 16.000 | PumpModule.Pump.%B.Value = 75.0
15:11:56 | 16.000 | PumpModule.Pump.%C.Value = 25.0
15:11:56 | 16.000 | PumpModule.Pump.%D.Value = 0.0
15:11:56 | 16.000 | PumpModule.Pump.Curve = 5
15:17:26 | 21.500 | PumpModule.Pump.Flow.Nominal = 1.000
15:17:26 | 21.500 | PumpModule.Pump.%B.Value = 75.0
15:17:26 | 21.500 | PumpModule.Pump.%C.Value = 25.0
15:17:26 | 21.500 | PumpModule.Pump.%D.Value = 0.0
15:17:26 | 21.500 | PumpModule.Pump.Curve = 5
15:17:26 | 21.500 | ColumnOven.ColumnOven_Temp.AcqOff
15:17:26 | 21.500 | PumpModule.Pump.Pump_Pressure.AcqOff
15:17:26 | 21.500 | UV.UV_VIS_1.AcqOff
15:17:26 | 21.500 | UV.3DFIELD.AcqOff
15:17:26 |  | End of injection "phenol 50 mg/L".

## Chromatogram
Chromatogram