## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 100 |  |  | Run Time (min): | 25
Vial Number: |  | 1 |  |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  |  | Channel: | ECD_1
Calibration Level: |  | 05 |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 15:18 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
1 | Fluoride | 3.9837 | 6.2638 | 27.7661 | 6.9253 | 10.3955 | 20.8172
2 | Chloride | 6.587 | 24.3865 | 97.9109 | 26.9621 | 36.6575 | 105.4459
3 | Nitrite | 8.277 | 12.2891 | 40.6633 | 13.587 | 15.2242 | 103.1704
4 |  | 9.6003 | 0.68644 | 1.8135 | 0.75894 | 0.67895 | n.a.
5 | Bromide | 10.3403 | 8.6471 | 25.285 | 9.5604 | 9.4666 | 103.6118
6 | Nitrate | 11.987 | 11.371 | 27.0912 | 12.5719 | 10.1429 | 104.4583
7 |  | 15.1737 | 12.1856 | 22.0311 | 13.4726 | 8.2484 | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
8 |  | 17.097 | 14.6178 | 24.5354 | 16.1617 | 9.186 | n.a.
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 90.4472 | 267.0964 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 100 |  |  | Run Time (min): | 25
Vial Number: |  | 1 |  |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  |  | Channel: | ECD_1
Calibration Level: |  | 05 |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 15:18 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
1 | Fluoride | 3.9837 | 0.17328 | M | 8.1196 | 2.0413 | 2928
2 | Chloride | 6.587 | 0.20506 | M | 4.2645 | 1.4664 | 5717
3 | Nitrite | 8.277 | 0.26257 | M | 2.4485 | 1.4415 | 5505
4 |  | 9.6003 | 0.37517 | M | 1.2859 | 1.0393 | 3628
5 | Bromide | 10.3403 | 0.30388 | M | 2.8853 | 1.4351 | 6415
6 | Nitrate | 11.987 | 0.36956 | M | 4.2922 | 1.5463 | 5829
7 |  | 15.1737 | 0.50651 | M | 2.1808 | 1.4979 | 4972
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
8 |  | 17.097 | 0.53418 | M | n.a. | 1.0426 | 5675
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 100 |  | Run Time (min): | 25
Vial Number: |  | 1 |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  | Channel: | ECD_1
Calibration Level: |  | 05 |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 15:18 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram