## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 15.3.1 |  |  | Run Time (min): | 25
Vial Number: |  | 29 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 23:46 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.8272 | 24.8298 | 77.7104 | 22.765 | 37.3106 | 107.3628
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.5038 | 23.5982 | 37.2298 | 21.6358 | 17.8749 | 509.818
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 18.8172 | 60.6419 | 93.3397 | 55.5991 | 44.8145 | n.a.
Total: |  |  | 109.0699 | 208.28 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 15.3.1 |  |  | Run Time (min): | 25
Vial Number: |  | 29 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 23:46 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.8272 | 0.26759 | M | 13.3667 | 1.4074 | 3606
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Phosphate | 16.5038 | 0.58665 | M | 2.3466 | 1.5497 | 4384
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 18.8172 | 0.57663 | M | n.a. | 0.90077 | 5900

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 15.3.1 |  | Run Time (min): | 25
Vial Number: |  | 29 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 23:46 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram