## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 10 |  |  | Run Time (min): | 25
Vial Number: |  | 4 |  |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  |  | Channel: | ECD_1
Calibration Level: |  | 03 |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 17:03 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
1 | Fluoride | 3.9705 | 0.51864 | 2.2463 | 7.6082 | 11.8857 | 1.7237
2 | Chloride | 6.5805 | 1.6821 | 6.3911 | 24.6756 | 33.8166 | 7.2733
3 | Nitrite | 8.3738 | 1.0152 | 2.9947 | 14.8926 | 15.8455 | 8.523
4 | Bromide | 10.5272 | 0.71261 | 1.8505 | 10.4536 | 9.7914 | 8.5387
5 | Nitrate | 12.2438 | 0.86788 | 1.9407 | 12.7313 | 10.2688 | 7.9727
6 |  | 15.7972 | 0.88951 | 1.584 | 13.0486 | 8.3812 | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | Sulfate | 17.4172 | 1.1309 | 1.892 | 16.5902 | 10.0108 | 9.4905
Total: |  |  | 6.8169 | 18.8993 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 10 |  |  | Run Time (min): | 25
Vial Number: |  | 4 |  |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  |  | Channel: | ECD_1
Calibration Level: |  | 03 |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 17:03 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
1 | Fluoride | 3.9705 | 0.17684 | M | 7.8112 | 2.3414 | 2793
2 | Chloride | 6.5805 | 0.21744 | M | 4.2293 | 1.7727 | 5074
3 | Nitrite | 8.3738 | 0.28291 | M | 4.1554 | 1.6691 | 4853
4 | Bromide | 10.5272 | 0.32857 | M | 2.8553 | 1.7146 | 5687
5 | Nitrate | 12.2438 | 0.38086 | M | 4.6929 | 1.6417 | 5725
6 |  | 15.7972 | 0.5126 | M | 1.8208 | 1.2059 | 5262
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | Sulfate | 17.4172 | 0.53727 | M | n.a. | 1.4128 | 5822

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 10 |  | Run Time (min): | 25
Vial Number: |  | 4 |  | Injection Volume: | 5000
Injection Type: |  | Calibration Standard |  | Channel: | ECD_1
Calibration Level: |  | 03 |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-21 17:03 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram