## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | 14.3.1 |  |  | Run Time (min): | 25
Vial Number: |  | 21 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 20:03 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | µS*min | µS | % | %
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.5137 | 21.0316 | 74.958 | 20.359 | 37.9739 | 90.9395
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 |  | 16.737 | 23.2788 | 34.5553 | 22.5344 | 17.5058 | n.a.
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 19.127 | 58.9931 | 87.88 | 57.1066 | 44.5202 | n.a.
Total: |  |  | 103.3035 | 197.3934 | 100 | 100

## Peak Analysis
Peak Analysis
Injection Details
Injection Name: |  | 14.3.1 |  |  | Run Time (min): | 25
Vial Number: |  | 21 |  |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  |  | Channel: | ECD_1
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 20:03 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peak Name | Retention Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
n.a. | Fluoride | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Chloride | 6.5137 | 0.22885 | M | 14.0857 | 1.4659 | 4488
n.a. | Nitrite | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Bromide | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Nitrate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Phosphate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 |  | 16.737 | 0.62758 | M | 2.3056 | 1.5209 | 3940
n.a. | Sulfate | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 19.127 | 0.59564 | M | n.a. | 0.88455 | 5713

## SST
Chromatogram and SST Results
Injection Details
Injection Name: |  | 14.3.1 |  | Run Time (min): | 25
Vial Number: |  | 21 |  | Injection Volume: | 5000
Injection Type: |  | Unknown |  | Channel: | ECD_1
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Medmerry1 |  | Bandwidth: | n.a.
Processing Method: |  | Medmerry 1 proc |  | Dilution Factor: | 1
Injection Date/Time: |  | 2016-12-22 20:03 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Injection
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | Passed

## Chromatogram
Chromatogram